## Products
Part Number | Part Name | Part Indicator | Description | Portfolio | Product Brand | Product Series | Product Type | Government Requirements | Status
FSXLCLCWL |  | Base Product | LazrSPEED® 550 LC/UPC to LC/UPC, Distribution Cable, 96-Fiber, Plenum | CommScope® | SYSTIMAX InstaPATCH® 360 |  | Fiber distribution cable assembly
FSXLCLCW6 |  | Base Product | LazrSPEED® 550 LC/UPC to LC/UPC, Distribution Cable, 6-Fiber, Plenum | CommScope® | SYSTIMAX InstaPATCH® 360 |  | Fiber distribution cable assembly
URGLCLCGD |  | Base Product | Ultra Low Loss (ULL) Singlemode LC/UPC to LC/UPC Fanout Cable, 12-Fiber, LSZH & OFNR | CommScope® | SYSTIMAX ULL |  | Fiber array cable assembly
UQXLCLCGD |  | Base Product | Ultra Low Loss (ULL) OM4 LC/UPC to LC/UPC Fanout Cable, 12-Fiber, Plenum | CommScope® | SYSTIMAX ULL |  | Fiber array cable assembly
IFC-7/02050-NGF |  | Variant | Intra Facility Fiber Cable, OS2, SC/UPC- stub, 48F, 50 m, NGF breakout 96-, 144-position |  |  | IFC | Fiber distribution cable assembly
IFC-7/02120-NGF |  | Variant | Intra Facility Fiber Cable, OS2, SC/UPC- stub, 48F, 120 m, NGF breakout 96-, 144-position |  |  | IFC | Fiber distribution cable assembly
IFC-7/7VP036-PPV |  | Variant | Intra Facility Fiber Cable, OS2, SC/UPC- SC/UPC, 72-fiber ribbon, 36 m, with LSX pulling socks |  |  | IFC | Fiber distribution cable assembly
FSWL2UCWH |  | Base Product | TeraSPEED® LC/UPC Keyed Yellow to Unconnectorized, Distribution Cable, 48-Fiber, Plenum | CommScope® | SYSTIMAX InstaPATCH® 360 |  | Fiber distribution cable assembly
FSWLCLCW6 |  | Variant | TeraSPEED® LC/UPC to LC/UPC, Distribution Cable, 6-Fiber, Plenum | CommScope® | SYSTIMAX InstaPATCH® 360 |  | Fiber distribution cable assembly
FSWLCLCWH |  | Base Product | TeraSPEED® LC/UPC to LC/UPC, Distribution Cable, 48-Fiber, Plenum | CommScope® | SYSTIMAX InstaPATCH® 360 |  | Fiber distribution cable assembly
FSWLCLCWK |  | Base Product | TeraSPEED® LC/UPC to LC/UPC, Distribution Cable, 72-Fiber, Plenum | CommScope® | SYSTIMAX InstaPATCH® 360 |  | Fiber distribution cable assembly
FSXLCLCWH |  | Base Product | LazrSPEED® 550 LC/UPC to LC/UPC, Distribution Cable, 48-Fiber, Plenum | CommScope® | SYSTIMAX InstaPATCH® 360 |  | Fiber distribution cable assembly
FSXLCLCWK |  | Base Product | LazrSPEED® 550 LC/UPC to LC/UPC, Distribution Cable, 72-Fiber, Plenum | CommScope® | SYSTIMAX InstaPATCH® 360 |  | Fiber distribution cable assembly
FSXLCLCWM |  | Base Product | LazrSPEED® 550 LC/UPC to LC/UPC, Distribution Cable, 144-Fiber, Plenum | CommScope® | SYSTIMAX InstaPATCH® 360 |  | Fiber distribution cable assembly
FSXLCLCWD |  | Base Product | LazrSPEED® 550 LC/UPC to LC/UPC, Distribution Cable, 12-Fiber, Plenum | CommScope® | SYSTIMAX InstaPATCH® 360 |  | Fiber distribution cable assembly
URXLCLCGD |  | Base Product | Ultra Low Loss (ULL) OM4 LC/UPC to LC/UPC Fanout Cable, 12-Fiber, LSZH & OFNR | CommScope® | SYSTIMAX ULL |  | Fiber array cable assembly
UQGLCLCGD |  | Base Product | Ultra Low Loss (ULL) Singlemode LC/UPC to LC/UPC Fanout Cable,12-Fiber, Plenum | CommScope® | SYSTIMAX ULL |  | Fiber array cable assembly
FSWLCUCWH |  | Base Product | TeraSPEED® LC/UPC to Unconnectorized, Distribution Cable, 48-Fiber, Plenum | CommScope® | SYSTIMAX InstaPATCH® 360 |  | Fiber distribution cable assembly
IFC-7/02080-NGF |  | Variant | Intra Facility Fiber Cable, OS2, SC/UPC- stub, 48F, 80 m, NGF breakout 96-, 144-position |  |  | IFC | Fiber distribution cable assembly
IFC-7/7VP038-PPP3V |  | Variant | Intra Facility Fiber Cable, OS2, SC/UPC- SC/UPC, 72-fiber ribbon, 38 m, with LSX/NG3 pulling socks |  |  | IFC | Fiber distribution cable assembly
IFC-7/7VP070-PPV |  | Variant | Intra Facility Fiber Cable, OS2, SC/UPC- SC/UPC, 72-fiber ribbon, 70 m, with LSX pulling socks |  |  | IFC | Fiber distribution cable assembly
IFC-7/7VP093-PPP3V |  | Variant | Intra Facility Fiber Cable, OS2, SC/UPC- SC/UPC, 72-fiber ribbon, 93 m, with LSX/NG3 pulling socks |  |  | IFC | Fiber distribution cable assembly
FSWSASAW6 |  | Base Product | TeraSPEED® SC/APC to SC/APC, Distribution Cable, 6-Fiber, Plenum | CommScope® | SYSTIMAX InstaPATCH® 360 |  | Fiber distribution cable assembly
FSWLCLCWD |  | Base Product | TeraSPEED® LC/UPC to LC/UPC, Distribution Cable, 12-Fiber, Plenum | CommScope® | SYSTIMAX InstaPATCH® 360 |  | Fiber distribution cable assembly
FSWLCLCWF |  | Base Product | TeraSPEED® LC/UPC to LC/UPC, Distribution Cable, 24-Fiber, Plenum | CommScope® | SYSTIMAX InstaPATCH® 360 |  | Fiber distribution cable assembly
FSXLCLCWF |  | Base Product | LazrSPEED® 550 LC/UPC to LC/UPC, Distribution Cable, 24-Fiber, Plenum | CommScope® | SYSTIMAX InstaPATCH® 360 |  | Fiber distribution cable assembly
FSWLCLCWM |  | Base Product | TeraSPEED® LC/UPC to LC/UPC, Distribution Cable, 144-Fiber, Plenum | CommScope® | SYSTIMAX InstaPATCH® 360 |  | Fiber distribution cable assembly
FSZL2L2WH |  | Base Product | LazrSPEED® 300 LC/UPC Keyed Yellow to LC/UPC Keyed Yellow, Distribution Cable, 48-Fiber, Plenum | CommScope® | SYSTIMAX InstaPATCH® 360 |  | Fiber distribution cable assembly