## Products
Part Number | Part Name | Part Indicator | Description | Portfolio | Product Brand | Product Series | Product Type | Government Requirements | Status
NG4-MMDCM0L500 |  | Variant of NG4-MODULES | NG4access® MPO Module, multimode OM5, LC-MPO 2x12 fiber, Polarity A, left exit (for MPO module) | CommScope® | NG4access® | NG4 | Fiber module
NG4-MMDCM0R500 |  | Variant of NG4-MODULES | NG4access® MPO Module, multimode OM5, LC-MPO 2x12 fiber, Polarity A, right exit (for MPO module) | CommScope® | NG4access® | NG4 | Fiber module
NG4-MMDC20L000 |  | Variant of NG4-MODULES | NG4access® MPO Module, multimode OM4, LC-MPO 1x24 fiber, Polarity A, left exit (for MPO module) | CommScope® | NG4access® | NG4 | Fiber module
NG4-MMDKE0L00B |  | Variant of NG4-MODULES | NG4access® MPO Module, singlemode, LC/UPC-MPO 2 – 1x12 fiber, Polarity B, left exit (for MPO module) | CommScope® | NG4access® | NG4 | Fiber module
NG4-MMDKE0R00B |  | Variant of NG4-MODULES | NG4access® MPO Module, singlemode, LC/UPC-MPO 1x24 fiber, Polarity B, right exit (for MPO module) | CommScope® | NG4access® | NG4 | Fiber module
NG4-MMDCM0R5UB |  | Variant of NG4-MODULES | NG4access® MPO Module, multimode OM5, LC-MPO 2x12 fiber, ULL Polarity B, right exit (for MPO module) | CommScope® | NG4access® | NG4 | Fiber module
760242717 | NG4-FLXACCSMCMP | Variant of NG4-CHASSIS-ACCESSORIES | NG4access® Cable Clamp Kit, for cables with a diameter range of 10 mm (0.4”) to 30 mm (1.2”), Kit of 2 |  |  |  | Cable clamp
NG4-MON-MODULES |  | Base Product | NG4access Monitoring Module |  | NG4access® | FACT ¦ NG4 | Monitoring module | Build America Buy America (BABA) compliant*
NG4-SPLTR-MODULES |  | Base Product | NG4access Splitter Module |  | NG4access® | FACT ¦ NG4 | Splitter module | Build America Buy America (BABA) compliant*
NG4-WDM-MODULES |  | Base Product | NG4access xWDM Module |  | NG4access® | FACT ¦ NG4 | CWDM module ¦ DWDM module | Build America Buy America (BABA) compliant*
NG4-VMMLF4J |  | Variant of NG4-MON-MODULES | NG4access® Module VAM, Monitoring, 60/40, singlemode, LC/APC, front, left, 4 circuits |  | NG4access® | FACT ¦ NG4 | Monitoring module | Build America Buy America (BABA) compliant*
NG4-VMMRF4J |  | Variant of NG4-MON-MODULES | NG4access® Module VAM, Monitoring, 60/40, singlemode, LC/APC, front, right, 4 circuits |  | NG4access® | FACT ¦ NG4 | Monitoring module | Build America Buy America (BABA) compliant*
NG4-VMMRF4H |  | Variant of NG4-MON-MODULES | NG4access® Module VAM, Monitoring, 70/30, singlemode, LC/APC, front, right, 4 circuits |  | NG4access® | FACT ¦ NG4 | Monitoring module | Build America Buy America (BABA) compliant*
NG4-CH100000-W |  | Variant of NG4-CHASSIS | NG4access® Universal Chassis, 24 Access Trays, Front Door and Designation Cards, White | CommScope® | NG4access® | NG4 | Fiber patch chassis
NG4-ACCCLMPEXP1 |  | Variant of NG4-CHASSIS-ACCESSORIES | NG4access® Cable Clamp Kit, for securing 6 OSP or IFC cables at the top of the frame |  | NG4access® | NG4 | Fiber cable clamp kit
NG4-ACCCLMPEXP2 |  | Variant of NG4-CHASSIS-ACCESSORIES | NG4access® Cable Clamp Kit, for securing 4 OSP or IFC cables at the top of the frame |  | NG4access® | NG4 | Cable clamp
NG4-CBOUT-288 |  | Variant of NG4-CHASSIS-ACCESSORIES | Fiber Optic Ribbon Breakout Kit, High Density, 1:3, 288f in - 96f x 3 out |  |  |  | Fiber breakout kit ¦ rectangular
NG4-CBOUT-BULK |  | Variant of NG4-CHASSIS-ACCESSORIES | Fiber Optic Ribbon Breakout Kit, High Density, 1:3, 288f in - 96f x 3 out; 24 kits |  |  |  | Fiber breakout kit ¦ rectangular
NG4-CH100000 |  | Variant of NG4-CHASSIS | NG4access® Universal Chassis, 24 access trays, front door and designation cards | CommScope® | NG4access® | NG4 | Fiber patch chassis
NG4-ACCWHSFS |  | Variant of NG4-SPLICE-TRAYS | NG4access® Splice Tray, single fusion, up to 24 protection sleeves, 148 mm x 191 mm x 19 mm |  | NG4access® | NG4 | Fiber splice tray
NG4-APLC120000 |  | Variant of NG4-ADAPTER-PACKS | NG4access® Adapter Pack Universal Kit, 2 blocks with 12 LC Adapter positions each |  | NG4access® | FACT ¦ NG4 | Fiber adapter pack
NG4-MMD7E0R000 |  | Variant of NG4-MODULES | NG4access® MPO Module, singlemode, SC/UPC-MPO 12 fiber, right exit (for MPO module) | CommScope® | NG4access® | NG4 | Fiber module
NG4-MMDCM0L000 |  | Variant of NG4-MODULES | NG4access® MPO Module, multimode, LC/UPC-MPO 24 fiber, left exit (for MPO module) | CommScope® | NG4access® | NG4 | Fiber module
NG4-MMDME0L000 |  | Variant of NG4-MODULES | NG4access® MPO Module, singlemode, LC/APC-MPO 24 fiber, left exit (for MPO module) | CommScope® | NG4access® | NG4 | Fiber module
NG4-MMDKE0L000 |  | Variant of NG4-MODULES | NG4access® MPO Module, singlemode, LC/UPC-MPO 24 fiber, left exit (for MPO module) | CommScope® | NG4access® | NG4 | Fiber module
NG4-VCKL2Q430000 |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, CWDM, 10 channels, 1310 nm port, 2 circuits, LC/UPC, left, 1431 nm starting channel, no test ports |  | NG4access® | FACT ¦ NG4 | CWDM module | Build America Buy America (BABA) compliant*
NG4-MMDTM0L000 |  | Variant of NG4-MODULES | NG4access® MPO Module, multimode, SC/UPC-MPO 12 fiber, left exit (for MPO module) | CommScope® | NG4access® | NG4 | Fiber module
NG4-MMDKE0R000 |  | Variant of NG4-MODULES | NG4access® MPO Module, singlemode, LC/UPC-MPO 24 fiber, right exit (for MPO module) | CommScope® | NG4access® | NG4 | Fiber module
NG4-VDML1MBA20BA00 |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 8 channels, upgrade port, 100 GHz channel spacing, starting channel 20, 1 circuit, Mux, LC/APC, left, no test ports |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-MMDLE0L000 |  | Variant of NG4-MODULES | NG4access® MPO Module, singlemode, SC/APC-MPO 12 fiber, left exit (for MPO module) | CommScope® | NG4access® | NG4 | Fiber module
NG4-VCML2B43AC2K |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, CWDM, 8 channels, upgrade port, 2 circuits, LC/APC, left, 1431 nm starting channel, 2 test ports |  | NG4access® | FACT ¦ NG4 | CWDM module | Build America Buy America (BABA) compliant*
NG4-MMDTM0R000 |  | Variant of NG4-MODULES | NG4access® MPO Module, multimode, SC/UPC-MPO 12 fiber, right exit (for MPO module) | CommScope® | NG4access® | NG4 | Fiber module
NG4-VDKR1DQA20001L |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 40 channels, 100 GHz channel spacing, starting channel 20, 1 circuit, Demux, LC/UPC, right, 1 test port |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VDML1MDA200C2K |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 8 channels, upgrade port, EXP port, 100 GHz channel spacing, starting channel 20, 1 circuit, Mux, LC/APC, left, 2 test ports |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VDKL1DQA20001L |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 40 channels, 100 GHz channel spacing, starting channel 20, 1 circuit, Demux, LC/UPC, left, 1 test port |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VCMR1Q430000 |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, CWDM, 10 channels, 1310 nm port, 1 circuit, LC/APC, right, 1431 nm starting channel, no test ports |  | NG4access® | FACT ¦ NG4 | CWDM module | Build America Buy America (BABA) compliant*
NG4-VCKR2B470C2K |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, CWDM, 8 channels, upgrade port, 2 circuits, LC/UPC, right, 1471 nm starting channel, 2 test ports |  | NG4access® | FACT ¦ NG4 | CWDM module | Build America Buy America (BABA) compliant*
NG4-VDKL1DQA21001L |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 40 channels, 100 GHz channel spacing, starting channel 21, 1 circuit, Demux, LC/UPC, left, 1 test port |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VDKR1MQA20001L |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 40 channels, 100 GHz channel spacing, starting channel 20, 1 circuit, Mux, LC/UPC, right, 1 test port |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VDML1MGA500C2K |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 12 channels, 100 GHz channel spacing, starting channel 50, 1 circuit, Mux, LC/APC, left, 2 test ports |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VCKL2455001K |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, CWDM, 4 channels, 2 circuits, LC/UPC, left, 1551 nm starting channel, 1 test port |  | NG4access® | FACT ¦ NG4 | CWDM module | Build America Buy America (BABA) compliant*
NG4-VCKR2C470B1K |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, CWDM, 4 channels, upgrade port, 1310 nm port, 2 circuits, LC/UPC, right, 1471 nm starting channel, 1 test port |  | NG4access® | FACT ¦ NG4 | CWDM module | Build America Buy America (BABA) compliant*
NG4-VDKR2MDA280C1K |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 8 channels, upgrade port, EXP port, 100 GHz channel spacing, starting channel 28, 2 circuits, Mux, LC/UPC, right, 1 test port |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VDKL1MQA20001L |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 40 channels, 100 GHz channel spacing, starting channel 20, 1 circuit, Mux, LC/UPC, left, 1 test port |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VDKL1MQA21001L |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 40 channels, 100 GHz channel spacing, starting channel 21, 1 circuit, Mux, LC/UPC, left, 1 test port |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VDML1MQA200C2K |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 40 channels, 100 GHz channel spacing, starting channel 20, 1 circuit, Mux, LC/APC, left, 2 test ports |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VCMR2B43AB00 |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, CWDM, 8 channels, upgrade port, 2 circuits, LC/APC, right, 1431 nm starting channel, no test ports |  | NG4access® | FACT ¦ NG4 | CWDM module | Build America Buy America (BABA) compliant*
NG4-VDMR1DQA200C00 |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 40 channels, 100 GHz channel spacing, starting channel 20, 1 circuit, Demux, LC/APC, right, no test ports |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VDKR2MDA440C1K |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 8 channels, upgrade port, EXP port, 100 GHz channel spacing, starting channel 44, 2 circuits, Mux, LC/UPC, right, 1 test port |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VDML2DDA200C1K |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 8 channels, upgrade port, EXP port, 100 GHz channel spacing, starting channel 20, 2 circuits, Demux, LC/APC, left, 1 test port |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VDML1MSA200C2K |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 16 channels, 100 GHz channel spacing, starting channel 20, 1 circuit, Mux, LC/APC, left, 2 test ports |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VDKR2MDA520C1K |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 8 channels, upgrade port, EXP port, 100 GHz channel spacing, starting channel 52, 2 circuits, Mux, LC/UPC, right, 1 test port |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VDML1MSA20B000 |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 16 channels, 100 GHz channel spacing, starting channel 20, 1 circuit, Mux, LC/APC, left, no test ports |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VDML2DDB211C1K |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 8 channels, upgrade port, EXP port, 200 GHz channel spacing, starting channel 21, 2 circuits, Demux, LC/APC, left, 1 test port |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VDMR1MSA250C2K |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 16 channels, 100 GHz channel spacing, starting channel 25, 1 circuit, Mux, LC/APC, right, 2 test ports |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VCMR2B470C2K |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, CWDM, 8 channels, upgrade port, 2 circuits, LC/APC, right, 1471 nm starting channel, 2 test ports |  | NG4access® | FACT ¦ NG4 | CWDM module | Build America Buy America (BABA) compliant*
NG4-VDML1DQA200C00 |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 40 channels, 100 GHz channel spacing, starting channel 20, 1 circuit, Demux, LC/APC, left, no test ports |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VDKL2MDA360C1K |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 8 channels, upgrade port, EXP port, 100 GHz channel spacing, starting channel 36, 2 circuits, Mux, LC/UPC, left, 1 test port |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VDMR1MDA200C2K |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 8 channels, upgrade port, EXP port, 100 GHz channel spacing, starting channel 20, 1 circuit, Mux, LC/APC, right, 2 test ports |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VDKL2MDA440C1K |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 8 channels, upgrade port, EXP port, 100 GHz channel spacing, starting channel 44, 2 circuits, Mux, LC/UPC, left, 1 test port |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VDML1MSB211C2K |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 16 channels, 200 GHz channel spacing, starting channel 21, 1 circuit, Mux, LC/APC, left, 2 test ports |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VDMR2MDA440C1K |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 8 channels, upgrade port, EXP port, 100 GHz channel spacing, starting channel 44, 2 circuits, Mux, LC/APC, right, 1 test port |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VSMRF116 |  | Variant of NG4-SPLTR-MODULES | NG4access® Module VAM, Splitter, 1x16, symmetrical split, singlemode, LC/APC, right, 1 circuit |  | NG4access® | FACT ¦ NG4 | Splitter module | Build America Buy America (BABA) compliant*
NG4-VDMR2MDA520C1K |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 8 channels, upgrade port, EXP port, 100 GHz channel spacing, starting channel 52, 2 circuits, Mux, LC/APC, right, 1 test port |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-CMD7LGQ |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode SC/UPC to SC/APC, 72 fiber, stranded, IFC |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDKKGQ |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode LC/UPC to LC/UPC, 72 fiber, stranded, IFC |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDMKGQ |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode LC/APC to LC/UPC, 72 fiber, stranded, IFC |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMD77HQ |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode SC/UPC to SC/UPC, 144 fiber, stranded, IFC |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDK7HQ |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode LC/UPC to SC/UPC, 144 fiber, stranded, IFC |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDMMHQ |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode LC/APC to LC/APC, 144 fiber, stranded, IFC |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDKKKQ |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode LC/UPC to LC/UPC, 96 fiber, stranded, IFC |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMD70RG |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode SC/UPC to stub, 72 fiber, rollable ribbon, indoor/outdoor |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMD70HS |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode SC/UPC to stub, 144 fiber, ribbon, IFC |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDK0KQ |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode LC/UPC to stub, 96 fiber, stranded, IFC |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDK0KS |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode LC/UPC to stub, 96 fiber, rollable ribbon, indoor/outdoor |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDKNGQ |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode LC/UPC module at both sides, 72 fiber, stranded, IFC |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDL0HQ |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode SC/APC to stub, 144 fiber, stranded, IFC |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDL0HS |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode SC/APC to stub, 144 fiber, ribbon, IFC |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDM0RG |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode LC/APC to stub, 72 fiber, rollable ribbon, indoor/outdoor |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDMNGQ |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode LC/APC module at both sides, 72 fiber, stranded, IFC |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMD70HL |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode SC/UPC to stub, 144 fiber, stranded, indoor/outdoor |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDK0GR |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode LC/UPC to stub, 72 fiber, rollable ribbon, indoor/outdoor |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDK0KL |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode LC/UPC to stub, 96 fiber, stranded, indoor/outdoor |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDK0LR |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode LC/UPC to stub, 432 fiber, ribbon, indoor/outdoor |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDL0GL |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode SC/APC to stub, 72 fiber, stranded, indoor/outdoor |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDL0RG |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode SC/APC to stub, 72 fiber, rollable ribbon, indoor/outdoor |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDKKM2 |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode LC/UPC to LC/UPC, 24 fiber, microcable |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDL0M2 |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode SC/APC to stub, 24 fiber, microcable |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDM0M2 |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode LC/APC to stub, 24 fiber, microcable |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDMLM2 |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode LC/APC to SC/APC, 24 fiber, microcable |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDC0MG |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, MultiMode OM4 LC to stub, 24 fiber, microcable |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDK0R3 |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode LC/UPC to stub, 144 fiber, Rollable Ribbon, indoor/outdoor |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDK0R5 |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode LC/UPC to stub, 432 fiber, Rollable Ribbon, indoor/outdoor |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDM0R4 |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode LC/APC to stub, 288 fiber, Rollable Ribbon, indoor/outdoor |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDM0R8 |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode LC/APC to stub, 864 fiber, Rollable Ribbon, indoor/outdoor |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDMPGQ |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode LC/APC to MPO/APC, 72 fiber, stranded, IFC |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-VMKNLF4J010GM |  | Variant of NG4-MON-MODULES | NG4access® Module VAM, Monitoring, 60/40, multimode, LC/UPC, front, left, 4 circuits |  | NG4access® | NG4 | Monitoring module | Build America Buy America (BABA) compliant*
NG4-VDMR4B6A21BA4K |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 6 channels, 100 GHz channel spacing, starting channel 21, 4 circuits, Mux/Demux, LC/APC, right, 1 test port |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VDMR1MQA200C2K |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 40 channels, 100 GHz channel spacing, starting channel 20, 1 circuit, Mux, LC/APC, right, 2 test ports |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VMKNRF4C010GM |  | Variant of NG4-MON-MODULES | NG4access® Module VAM, Monitoring, 50/50, multimode, LC/UPC, front, right, 4 circuits |  | NG4access® | NG4 | Monitoring module | Build America Buy America (BABA) compliant*
NG4-VSMRF44 |  | Variant of NG4-SPLTR-MODULES | NG4access® Module VAM, Splitter, 1x4, symmetrical split, singlemode, LC/APC, front, right, 4 circuits |  | NG4access® | FACT ¦ NG4 | Splitter module | Build America Buy America (BABA) compliant*
NG4-VSMLF116 |  | Variant of NG4-SPLTR-MODULES | NG4access® Module VAM, Splitter, 1x16, symmetrical split, singlemode, LC/APC, front, left, 1 circuit |  | NG4access® | FACT ¦ NG4 | Splitter module | Build America Buy America (BABA) compliant*
NG4-VDMR1MSA200C2K |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 16 channels, 100 GHz channel spacing, starting channel 20, 1 circuit, Mux, LC/APC, right, 2 test ports |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VMKNRF4H010GM |  | Variant of NG4-MON-MODULES | NG4access® Module VAM, Monitoring, 70/30, multimode, LC/UPC, front, right, 4 circuits |  | NG4access® | NG4 | Monitoring module | Build America Buy America (BABA) compliant*
NG4-VSMLF132 |  | Variant of NG4-SPLTR-MODULES | NG4access® Module VAM, Splitter, 1x32, symmetrical split, singlemode, LC/APC, front, left, 1 circuit |  | NG4access® | FACT ¦ NG4 | Splitter module | Build America Buy America (BABA) compliant*
NG4-VSMRF8C |  | Variant of NG4-SPLTR-MODULES | NG4access® Module VAM, Splitter, 1x2, symmetrical split, singlemode, LC/APC, front, right, 8 circuits |  | NG4access® | FACT ¦ NG4 | Splitter module | Build America Buy America (BABA) compliant*
NG4-VSMLF44 |  | Variant of NG4-SPLTR-MODULES | NG4access® Module VAM, Splitter, 1x4, symmetrical split, singlemode, LC/APC, front, left, 4 circuits |  | NG4access® | FACT ¦ NG4 | Splitter module | Build America Buy America (BABA) compliant*
NG4-VM7LF2B |  | Variant of NG4-MON-MODULES | NG4access® Module VAM, Monitoring, 95/5, singlemode, SC/UPC, front, left, 2 circuits |  | NG4access® | NG4 | Monitoring module | Build America Buy America (BABA) compliant*
NG4-VDMR2DDA200C1K |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 8 channels, upgrade port, EXP port, 100 GHz channel spacing, starting channel 20, 2 circuits, Demux, LC/APC, right, 1 test port |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VMKRF4C |  | Variant of NG4-MON-MODULES | NG4access® Module VAM, Monitoring, 50/50, singlemode, LC/UPC, front, right, 4 circuits |  | NG4access® | NG4 | Monitoring module | Build America Buy America (BABA) compliant*
NG4-VMKLF4J |  | Variant of NG4-MON-MODULES | NG4access® Module VAM, Monitoring, 60/40, singlemode, LC/UPC, front, left, 4 circuits |  | NG4access® | NG4 | Monitoring module | Build America Buy America (BABA) compliant*
NG4-VMKRF4J |  | Variant of NG4-MON-MODULES | NG4access® Module VAM, Monitoring, 60/40, singlemode, LC/UPC, front, right, 4 circuits |  | NG4access® | NG4 | Monitoring module | Build America Buy America (BABA) compliant*
NG4-VDMR2MDA280C1K |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 8 channels, upgrade port, EXP port, 100 GHz channel spacing, starting channel 28, 2 circuits, Mux, LC/APC, right, 1 test port |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VMMLF4A |  | Variant of NG4-MON-MODULES | NG4access® Module VAM, Monitoring, 90/10, singlemode, LC/APC, front, left, 4 circuits |  | NG4access® | FACT ¦ NG4 | Monitoring module | Build America Buy America (BABA) compliant*
NG4-CABLED-MODULES |  | Base Product | NG4access® Cabled Modules available in all module sizes and fiber counts up to 864 fibers |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-ODF |  | Base Product | NG4access® ODF Skeleton Frame for holding NG4access fiber panels |  | NG4access® | NG4 | Frame
NG4-CHASSIS-ACCESSORIES |  | Base Product | NG4access® Fiber Chassis Accessories such as trays, panel door kits and cable clamps | CommScope® | NG4access® | NG4 | Door kit ¦ Fiber cable clamp ¦ Tray
NG4-ADAPTER-PACKS |  | Base Product | NG4access® Adapter Pack Universal Kit | CommScope® | NG4access® | FACT ¦ NG4 | Fiber adapter pack
NG4-ACCEGDB1 |  | Variant of NG4-ODF-ACCESSORIES | NG4access® End Guard, mounts on NG4access frame 7 ft x 2.5 in x 24 in |  | NG4access® | NG4 | End guard
NG4-ACCFR1EXT-24 |  | Variant of NG4-ODF-ACCESSORIES | NG4access® Rack Extender Kit, 24 inch |  | NG4access® | NG4 | Extender kit
NG4-ACCFR1EXT-54 |  | Variant of NG4-ODF-ACCESSORIES | NG4access® Rack Extender Kit, 54 inch (Black) |  | NG4access® | NG4 | Extender kit
NG4-ACCISOPEGD |  | Variant of NG4-ODF-ACCESSORIES | NG4access® Fiber Optic End Guard, isolation pad |  | NG4access® | NG4 | Isolation pad
NG4-ACCISOPFOTSP |  | Variant of NG4-ODF-ACCESSORIES | NG4access® Fiber Optic Terminal Storage Panel, FOTSP isolation pad |  | NG4access® | NG4 | Isolation pad
NG4-VMKLF4A |  | Variant of NG4-MON-MODULES | NG4access® Module VAM, Monitoring, 90/10, singlemode, LC/UPC, front, left, 4 circuits |  | NG4access® | FACT ¦ NG4 | Monitoring module | Build America Buy America (BABA) compliant*
NG4-FR100000 |  | Variant of NG4-ODF | NG4access® Fiber Skeleton Bay |  | NG4access® | NG4 | Frame
NG4-ODF-ACCESSORIES |  | Base Product | NG4access® Optical Distribution Frame (ODF) Accessories | CommScope® | NG4access® | NG4 | End guard ¦ Extender kit ¦ Isolation pad ¦ Storage bay ¦ Transition kit
NG4-MODULES |  | Base Product | NG4access® MPO Module, singlemode | CommScope® | NG4access® | NG4 | Fiber module
NG4-SPLICE-TRAYS |  | Base Product | NG4access® Splice Tray | CommScope® | NG4access® | NG4 | Fiber splice tray
NG4-CHASSIS |  | Base Product | NG4access® Universal Fiber Optic Termination Chassis for NG4 ODF |  | NG4access® | NG4 | Fiber patch chassis ¦ Fiber splice chassis
NG4-CMDK7GQ |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode LC/UPC to SC/UPC, 72 fiber, stranded, IFC |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-MMDC20R000 |  | Variant of NG4-MODULES | NG4access® MPO Module, multimode OM4, LC-MPO 1x24 fiber, Polarity A, right exit (for MPO module) | CommScope® | NG4access® | NG4 | Fiber module
NG4-MMDKE0L0UB |  | Variant of NG4-MODULES | NG4access® MPO Module, singlemode, LC/UPC-MPO 1x24 fiber, ULL Polarity B, left exit (for MPO module) | CommScope® | NG4access® | NG4 | Fiber module
NG4-MMDKE0R0UB |  | Variant of NG4-MODULES | NG4access® MPO Module, singlemode, LC/UPC-MPO 1x24 fiber, ULL Polarity B, right exit (for MPO module) | CommScope® | NG4access® | NG4 | Fiber module
NG4-MMDC20L5UB |  | Variant of NG4-MODULES | NG4access® MPO Module, multimode OM5, LC-MPO 1x24 fiber, ULL Polarity B, left exit (for MPO module) | CommScope® | NG4access® | NG4 | Fiber module
NG4-MMDC20R5UB |  | Variant of NG4-MODULES | NG4access® MPO Module, multimode OM5, LC-MPO 1x24 fiber, ULL Polarity B, right exit (for MPO module) | CommScope® | NG4access® | NG4 | Fiber module
NG4-MMDCM0L5UB |  | Variant of NG4-MODULES | NG4access® MPO Module, multimode OM5, LC-MPO 2x12 fiber, ULL Polarity B, left exit (for MPO module) | CommScope® | NG4access® | NG4 | Fiber module
NG4-CMDMMGQ |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode LC/APC to LC/APC, 72 fiber, stranded, IFC |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMD7LHQ |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode SC/UPC to SC/APC, 144 fiber, stranded, IFC |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDKKHQ |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode LC/UPC to LC/UPC, 144 fiber, stranded, IFC |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDK7KQ |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode LC/UPC to SC/UPC, 96 fiber, stranded, IFC |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDK0RG |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode LC/UPC to stub, 72 fiber, rollable ribbon, indoor/outdoor |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDK0GQ |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode LC/UPC to stub, 72 fiber, stranded, IFC |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDK0HQ |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode LC/UPC to stub, 144 fiber, stranded, IFC |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDK0HS |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode LC/UPC to stub, 144 fiber, ribbon, IFC |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDKNHQ |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode LC/UPC module at both sides, 144 fiber, stranded, IFC |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDL0GQ |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode SC/APC to stub, 72 fiber, stranded, IFC |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDL0RK |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode SC/APC to stub, 96 fiber, rollable ribbon, indoor/outdoor |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDM0GQ |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode LC/APC to stub, 72 fiber, stranded |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDM0HQ |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode LC/APC to stub, 144 fiber, stranded, IFC |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDM0HS |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode LC/APC to stub, 144 fiber, ribbon, IFC |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDM0RK |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode LC/APC to stub, 96 fiber, rollable ribbon, indoor/outdoor |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDMNRG |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode LC/APC module at both sides, 72 fiber, rollable ribbon, indoor/outdoor |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDK0HL |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode LC/UPC to stub, 144 fiber, stranded, indoor/outdoor |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDK0RJ |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode LC/UPC to stub, 216 fiber, rollable ribbon, indoor/outdoor |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDK0JS |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode LC/UPC to stub, 216 fiber, rollable ribbon, indoor/outdoor |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDK0RK |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode LC/UPC to stub, 96 fiber, rollable ribbon, indoor/outdoor |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDL0HL |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode SC/APC to stub, 144 fiber, stranded, indoor/outdoor |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDM0RJ |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode LC/APC to stub, 216 fiber, rollable ribbon, indoor/outdoor |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMD70M2 |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode SC/UPC to stub, 24 fiber, microcable |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMD77M2 |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode SC/UPC to SC/UPC, 24 fiber, microcable |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDK0M2 |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode LC/UPC to stub, 24 fiber, microcable |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDK7M2 |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode LC/UPC to SC/UPC, 24 fiber, microcable |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDKEM2 |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode LC/UPC to MPO, 24 fiber, microcable |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDKNM2 |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode LC/UPC module at both sides, 24 fiber, microcable |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDMEM2 |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode LC/APC to MPO, 24 fiber, microcable |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDK0R4 |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode LC/UPC to stub, 288 fiber, Rollable Ribbon, indoor/outdoor |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDK0R6 |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode LC/UPC to stub, 576 fiber, Rollable Ribbon, indoor/outdoor |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDK0R8 |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode LC/UPC to stub, 864 fiber, Rollable Ribbon, indoor/outdoor |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDM0R3 |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode LC/APC to stub, 144 fiber, Rollable Ribbon, indoor/outdoor |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDM0R5 |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode LC/APC to stub, 432 fiber, Rollable Ribbon, indoor/outdoor |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDM0R6 |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode LC/APC to stub, 576 fiber, Rollable Ribbon, indoor/outdoor |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDM0R2 |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode LC/APC to stub, 24 fiber, Rollable Ribbon, Plenum |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDK0R2 |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode LC/UPC to stub, 24 fiber, Rollable Ribbon, Plenum |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDKPGQ |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode LC/UPC to MPO/APC, 72 fiber, stranded, IFC |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDKPHQ |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode LC/UPC to MPO/APC, 144 fiber, stranded, IFC |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-CMDMPHQ |  | Variant of NG4-CABLED-MODULES | NG4access® Cabled Module, singlemode LC/APC to MPO/APC, 144 fiber, stranded, IFC |  | NG4access® | LSX ¦ NG4 | Fiber cabled module
NG4-VMMRF4A |  | Variant of NG4-MON-MODULES | NG4access® Module VAM, Monitoring, 90/10, singlemode, LC/APC, front, right, 4 circuits |  | NG4access® | FACT ¦ NG4 | Monitoring module | Build America Buy America (BABA) compliant*
NG4-VSMLF28 |  | Variant of NG4-SPLTR-MODULES | NG4access® Module VAM, Splitter, 1x8, symmetrical split, singlemode, LC/APC, front, left, 2 circuits |  | NG4access® | FACT ¦ NG4 | Splitter module | Build America Buy America (BABA) compliant*
NG4-VSMRF28 |  | Variant of NG4-SPLTR-MODULES | NG4access® Module VAM, Splitter, 1x8, symmetrical split, singlemode, LC/APC, front, right, 2 circuits |  | NG4access® | FACT ¦ NG4 | Splitter module | Build America Buy America (BABA) compliant*
NG4-APMP0400EB |  | Variant of NG4-ADAPTER-PACKS | NG4access® Adapter Pack Universal Kit, 2 blocks with 4 MPO Adapter positions each, enhanced Method B (key up/up) |  | NG4access® | FACT ¦ NG4 | Fiber adapter pack
NG4-VMKLF4C |  | Variant of NG4-MON-MODULES | NG4access® Module VAM, Monitoring, 50/50, singlemode, LC/UPC, front, left, 4 circuits |  | NG4access® | FACT ¦ NG4 | Monitoring module | Build America Buy America (BABA) compliant*
NG4-CH1KM576 |  | Variant of NG4-CHASSIS | NG4access® Universal Chassis Preloaded with 576 LC Adapter Packs, LC12 Universal Packs, Front Door and Designation Cards | CommScope® | NG4access® | NG4 | Fiber patch chassis
NG4-VSKLF132 |  | Variant of NG4-SPLTR-MODULES | NG4access® Module VAM, Splitter, 1x32, equal split, singlemode, LC/UPC, front, left, 1 circuit |  | NG4access® | NG4 | Splitter module | Build America Buy America (BABA) compliant*
NG4-APMP040000 |  | Variant of NG4-ADAPTER-PACKS | NG4access® Adapter Pack Universal Kit, 2 blocks with 4 MPO Adapter positions each, Method A (key up/down) |  | NG4access® | FACT ¦ NG4 | Fiber adapter pack
NG4-APSC060000 |  | Variant of NG4-ADAPTER-PACKS | NG4access® Adapter Pack Universal Kit, 2 blocks with 6 SC Adapter positions each |  | NG4access® | FACT ¦ NG4 | Fiber adapter pack
NG4-ACCRDOORKIT1 |  | Variant of NG4-CHASSIS-ACCESSORIES | NG4access® Rear Chassis Door Kit, rear door, bracket and designation labels |  | NG4access® | NG4 | Door kit
NG4-ACCRFCLMP1 |  | Variant of NG4-CHASSIS-ACCESSORIES | NG4access® Cable Clamp Kit, for securing for 24 cables up to 0.8 in cable diameter, in a raised floor application |  | NG4access® | NG4 | Cable clamp
NG4-CBOUT-1728 |  | Variant of NG4-CHASSIS-ACCESSORIES | Fiber Optic Ribbon Breakout Kit, High Density, 1:3, 288f in - 96f x 3 out; 6 kits for up to 1728f Cable |  |  |  | Fiber breakout kit ¦ rectangular
NG4-ACCRFCLMP3 |  | Variant of NG4-CHASSIS-ACCESSORIES | NG4access® Cable Clamp Kit, for securing for cables up to 1.2 in diameter, in a raised floor application |  | NG4access® | NG4 | Cable clamp
NG4-ACCTRAYKIT1 |  | Variant of NG4-CHASSIS-ACCESSORIES | NG4access® Single-Access Replacement Tray, empty, left or right replacement |  | NG4access® | NG4 | Tray
NG4-ACCTRAYKIT5 |  | Variant of NG4-CHASSIS-ACCESSORIES | NG4access® replacement access tray door kit, kit of 5 access tray doors, springs and laser eye protection label |  | NG4access® | NG4 | Tray
NG4-CH100000-E |  | Variant of NG4-CHASSIS | NG4access® Universal Chassis, 24 access trays, without front door and designation cards | CommScope® | NG4access® | NG4 | Fiber patch chassis
NG4-ACCWHMFS |  | Variant of NG4-SPLICE-TRAYS | NG4access® Splice Tray, mass fusion, up to 6 protection sleeves, 148 mm x 191 mm x 19 mm |  | NG4access® | NG4 | Fiber splice tray
NG4-CH200000 |  | Variant of NG4-CHASSIS | NG4access® Universal Splice Chassis, unloaded, for holding up to 48 splice trays, black | CommScope® | NG4access® | NG4 | Fiber splice chassis
NG4-FR1000A1 |  | Variant of NG4-ODF | NG4access® Fiber Skeleton Bay with integrated FOTSP |  | NG4access® | NG4 | Frame
NG4-MMD7E0L000 |  | Variant of NG4-MODULES | NG4access® MPO Module, singlemode, SC/UPC-MPO 12 fiber, left exit (for MPO module) | CommScope® | NG4access® | NG4 | Fiber module
NG4-MMDLE0R000 |  | Variant of NG4-MODULES | NG4access® MPO Module, singlemode, SC/APC-MPO 12 fiber, right exit (for MPO module) | CommScope® | NG4access® | NG4 | Fiber module
NG4-VCKL2F47001K |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, CWDM, 8 channels, 1310 nm port, 2 circuits, LC/UPC, left, 1471 nm starting channel, 1 test port |  | NG4access® | FACT ¦ NG4 | CWDM module | Build America Buy America (BABA) compliant*
NG4-VCML2A470B00 |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, CWDM, 4 channels, upgrade port, 2 circuits, LC/APC, left, 1471 nm starting channel, no test ports |  | NG4access® | FACT ¦ NG4 | CWDM module | Build America Buy America (BABA) compliant*
NG4-MMDCM0R000 |  | Variant of NG4-MODULES | NG4access® MPO Module, multimode, LC/UPC-MPO 24 fiber, right exit (for MPO module) | CommScope® | NG4access® | NG4 | Fiber module
NG4-MMDME0R000 |  | Variant of NG4-MODULES | NG4access® MPO Module, singlemode, LC/APC-MPO 24 fiber, right exit (for MPO module) | CommScope® | NG4access® | NG4 | Fiber module
NG4-VCML2A550A00 |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, CWDM, 4 channels, upgrade port, 2 circuits, LC/APC, left, 1551 nm starting channel, no test ports |  | NG4access® | FACT ¦ NG4 | CWDM module | Build America Buy America (BABA) compliant*
NG4-VCKR1F470000 |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, CWDM, 8 channels, 1310 nm port, 1 circuit, LC/UPC, right, 1471 nm starting channel, no test ports |  | NG4access® | FACT ¦ NG4 | CWDM module | Build America Buy America (BABA) compliant*
NG4-VCML2B43AB00 |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, CWDM, 8 channels, upgrade port, 2 circuits, LC/APC, left, 1431 nm starting channel, no test ports |  | NG4access® | FACT ¦ NG4 | CWDM module | Build America Buy America (BABA) compliant*
NG4-VCMR2D470D00 |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, CWDM, 8 channels, upgrade port, 1310 nm port, 2 circuits, LC/APC, right, 1471 nm starting channel, no test ports |  | NG4access® | FACT ¦ NG4 | CWDM module | Build America Buy America (BABA) compliant*
NG4-VDKL2MDA520C1K |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 8 channels, upgrade port, EXP port, 100 GHz channel spacing, starting channel 52, 2 circuits, Mux, LC/UPC, left, 1 test port |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VCMR2F47002K |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, CWDM, 8 channels, 1310 nm port, 2 circuits, LC/APC, right, 1471 nm starting channel, 2 test ports |  | NG4access® | FACT ¦ NG4 | CWDM module | Build America Buy America (BABA) compliant*
NG4-VCKR2455001K |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, CWDM, 4 channels, 2 circuits, LC/UPC, right, 1451 nm starting channel, 1 test port |  | NG4access® | FACT ¦ NG4 | CWDM module | Build America Buy America (BABA) compliant*
NG4-VDML1MYA400C1K |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 20 channels, 100 GHz channel spacing, starting channel 40, 1 circuit, Mux, LC/APC, left, 1 test port |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VDKR1DQA21001L |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 40 channels, 100 GHz channel spacing, starting channel 21, 1 circuit, Demux, LC/UPC, right, 1 test port |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VCKL1F470000 |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, CWDM, 8 channels, 1310 nm port, 1 circuits, LC/UPC, left, 1471 nm starting channel, no test ports |  | NG4access® | FACT ¦ NG4 | CWDM module | Build America Buy America (BABA) compliant*
NG4-VDML2BBA24BA1K |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 8 channels, 100 GHz channel spacing, starting channel 24, 2 circuits, Mux/Demux, LC/APC, left, 1 test port |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VCMR2A470B00 |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, CWDM, 4 channels, upgrade port, 2 circuits, LC/APC, right, 1471 nm starting channel, no test ports |  | NG4access® | FACT ¦ NG4 | CWDM module | Build America Buy America (BABA) compliant*
NG4-VDML2BDA24BB1K |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 8 channels, upgrade port, EXP port, 100 GHz channel spacing, starting channel 24, 2 circuits, Mux/Demux, LC/APC, left, 1 test port |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VDML4BAA21BA1K |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 4 channels, upgrade port, 100 GHz channel spacing, starting channel 21, 4 circuits, Mux/Demux, LC/APC, left, 1 test port |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VCMR2A550A00 |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, CWDM, 4 channels, upgrade port, 2 circuits, LC/APC, right, 1551 nm starting channel, no test ports |  | NG4access® | FACT ¦ NG4 | CWDM module | Build America Buy America (BABA) compliant*
NG4-VDML1MQA200C00 |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 40 channels, 100 GHz channel spacing, starting channel 20, 1 circuit, Mux, LC/APC, left, no test ports |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VCKL2B470C2K |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, CWDM, 8 channels, upgrade port, 2 circuits, LC/UPC, left, 1471 nm starting channel, 2 test ports |  | NG4access® | FACT ¦ NG4 | CWDM module | Build America Buy America (BABA) compliant*
NG4-VCKR2F470000 |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, CWDM, 8 channels, 1310 nm port, 2 circuits, LC/UPC, right, 1471 nm starting channel, no test ports |  | NG4access® | FACT ¦ NG4 | CWDM module | Build America Buy America (BABA) compliant*
NG4-VDKR2MDA360C1K |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 8 channels, upgrade port, EXP port, 100 GHz channel spacing, starting channel 36, 2 circuits, Mux, LC/UPC, right, 1 test port |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VDML2DBB211A2K |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 8 channels, upgrade port, EXP port, 200 GHz channel spacing, starting channel 21, 2 circuits, Demux, LC/APC, left, 2 test ports |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VCKL2C470B1K |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, CWDM, 4 channels, upgrade port, 2 circuits, LC/UPC, left, 1471 nm starting channel, 1 test port |  | NG4access® | FACT ¦ NG4 | CWDM module | Build America Buy America (BABA) compliant*
NG4-VCKR2F47001K |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, CWDM, 8 channels, 1310 nm port, 2 circuits, LC/UPC, right, 1471 nm starting channel, 1 test port |  | NG4access® | FACT ¦ NG4 | CWDM module | Build America Buy America (BABA) compliant*
NG4-VCMR2B43AC2K |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, CWDM, 8 channels, upgrade port, 2 circuits, LC/APC, right, 1431 nm starting channel, 2 test ports |  | NG4access® | FACT ¦ NG4 | CWDM module | Build America Buy America (BABA) compliant*
NG4-VDKL2MDA200C1K |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 8 channels, upgrade port, EXP port, 100 GHz channel spacing, starting channel 20, 2 circuits, Mux, LC/UPC, left, 1 test port |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VCKL2F470000 |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, CWDM, 8 channels, 1310 nm port, 2 circuits, LC/UPC, left, 1471 nm starting channel, no test ports |  | NG4access® | FACT ¦ NG4 | CWDM module | Build America Buy America (BABA) compliant*
NG4-VDMR1M8A23B000 |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 8 channels, 100 GHz channel spacing, starting channel 23, 1 circuit, Mux, LC/APC, right, no test ports |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VDKL2MDA280C1K |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 8 channels, upgrade port, EXP port, 100 GHz channel spacing, starting channel 28, 2 circuits, Mux, LC/UPC, left, 1 test port |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VCKR2Q430000 |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, CWDM, 10 channels, 1310 nm port, 2 circuits, LC/UPC, right, 1431 nm starting channel, no test ports |  | NG4access® | FACT ¦ NG4 | CWDM module | Build America Buy America (BABA) compliant*
NG4-VDMR1MBA20BA00 |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 8 channels, upgrade port, 100 GHz channel spacing, starting channel 20, 1 circuit, Mux, LC/APC, right, no test ports |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VDML2MDA200C1K |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 8 channels, upgrade port, EXP port, 100 GHz channel spacing, starting channel 20, 2 circuits, Mux, LC/APC, left, 1 test port |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VCML1Q430000 |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, CWDM, 10 channels, 1310 nm port, 1 circuit, LC/APC, left, 1431 nm starting channel, no test ports |  | NG4access® | FACT ¦ NG4 | CWDM module | Build America Buy America (BABA) compliant*
NG4-VDML1MSA250C2K |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 16 channels, 100 GHz channel spacing, starting channel 25, 1 circuit, Mux, LC/APC, left, 2 test ports |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VDMR2MDA360C1K |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 8 channels, upgrade port, EXP port, 100 GHz channel spacing, starting channel 36, 2 circuits, Mux, LC/APC, right, 1 test port |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VDMR1MSB211C2K |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 16 channels, 200 GHz channel spacing, starting channel 21, 1 circuit, Mux, LC/APC, right, 2 test ports |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VDML1M8A23B000 |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 8 channels, 100 GHz channel spacing, starting channel 23, 1 circuit, Mux, LC/APC, left, no test ports |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VDML2MDA360C1K |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 8 channels, upgrade port, EXP port, 100 GHz channel spacing, starting channel 36, 2 circuits, Mux, LC/APC, left, 1 test port |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VMKNLF4H010GM |  | Variant of NG4-MON-MODULES | NG4access® Module VAM, Monitoring, 70/30, multimode, LC/UPC, front, left, 4 circuits |  | NG4access® | NG4 | Monitoring module | Build America Buy America (BABA) compliant*
NG4-VDMR1MGA500C2K |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 12 channels, 100 GHz channel spacing, starting channel 50, 1 circuit, Mux, LC/APC, right, 2 test ports |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VDMR1MYA200C1K |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 20 channels, 100 GHz channel spacing, starting channel 20, 1 circuit, Mux, LC/APC, right, 1 test port |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VDML2MDA440C1K |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 8 channels, upgrade port, EXP port, 100 GHz channel spacing, starting channel 44, 2 circuits, Mux, LC/APC, left, 1 test port |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VDML1MYA200C1K |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 20 channels, 100 GHz channel spacing, starting channel 20, 1 circuit, Mux, LC/APC, left, 1 test port |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VDMR1MQA200C00 |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 40 channels, 100 GHz channel spacing, starting channel 20, 1 circuit, Mux, LC/APC, right, no test ports |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VSKRF132 | NG4 VAM, 1 1X32 SPLITTERS, LC/UPC, RIGHT | Variant of NG4-SPLTR-MODULES | NG4access® Module VAM, Splitter, 1x32, equal split, singlemode, LC/UPC, front, right, 1 circuit |  | NG4access® | NG4 | Splitter module | Build America Buy America (BABA) compliant*
NG4-VDMR2BBA24BA1K |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 8 channels, upgrade port, 100 GHz channel spacing, starting channel 20, 2 circuits, Mux/Demux, LC/APC, right, 1 test port |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VDML2MDA520C1K |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 8 channels, upgrade port, EXP port, 100 GHz channel spacing, starting channel 52, 2 circuits, Mux, LC/APC, left, 1 test port |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VSMRF132 |  | Variant of NG4-SPLTR-MODULES | NG4access® Module VAM, Splitter, 1x32, symmetrical split, singlemode, LC/APC, front, right, 1 circuit |  | NG4access® | FACT ¦ NG4 | Splitter module | Build America Buy America (BABA) compliant*
NG4-VDMR2BDA24BB1K |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 4 channels, upgrade port, 100 GHz channel spacing, starting channel 24, 2 circuits, Mux/Demux, LC/APC, right, 1 test port |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VDMR4BAA21BA1K |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 4 channels, upgrade port, 100 GHz channel spacing, starting channel 21, 4 circuits, Mux/Demux, LC/APC, right, 1 test port |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VDMR2DBB211A2K |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 8 channels, upgrade port, 200 GHz channel spacing, starting channel 24, 2 circuits, Demux, LC/APC, right, 2 test ports |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VM7LF2A |  | Variant of NG4-MON-MODULES | NG4access® Module VAM, Monitoring, 90/10, singlemode, SC/UPC, front, left, 2 circuits |  | NG4access® | NG4 | Monitoring module | Build America Buy America (BABA) compliant*
NG4-VMKNRF4J010GM |  | Variant of NG4-MON-MODULES | NG4access® Module VAM, Monitoring, 60/40, multimode, LC/UPC, front, right, 4 circuits |  | NG4access® | NG4 | Monitoring module | Build America Buy America (BABA) compliant*
NG4-VDMR1MSA20B000 |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 16 channels, 100 GHz channel spacing, starting channel 20, 1 circuit, Mux, LC/APC, right, no test ports |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VMKRF4A |  | Variant of NG4-MON-MODULES | NG4access® Module VAM, Monitoring, 90/10, singlemode, LC/UPC, front, right, 4 circuits |  | NG4access® | NG4 | Monitoring module | Build America Buy America (BABA) compliant*
NG4-VM7RF2A |  | Variant of NG4-MON-MODULES | NG4access® Module VAM, Monitoring, 90/10, singlemode, SC/UPC, front, right, 2 circuits |  | NG4access® | NG4 | Monitoring module | Build America Buy America (BABA) compliant*
NG4-VDMR2DDB211C1K |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 8 channels, upgrade port, EXP port, 200 GHz channel spacing, starting channel 21, 2 circuits, Demux, LC/APC, right, 1 test port |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VSMLF8C |  | Variant of NG4-SPLTR-MODULES | NG4access® Module VAM, Splitter, 1x2, symmetrical split, singlemode, LC/APC, front, left, 8 circuits |  | NG4access® | FACT ¦ NG4 | Splitter module | Build America Buy America (BABA) compliant*
NG4-VDMR2MDA200C1K |  | Variant of NG4-WDM-MODULES | NG4access® Module VAM, DWDM, 8 channels, upgrade port, EXP port, 100 GHz channel spacing, starting channel 20, 2 circuits, Mux, LC/APC, right, 1 test port |  | NG4access® | FACT ¦ NG4 | DWDM module | Build America Buy America (BABA) compliant*
NG4-VMKNLF4C010GM |  | Variant of NG4-MON-MODULES | NG4access® Module VAM, Monitoring, 70/30, multimode, LC/UPC, front, left, 4 circuits |  | NG4access® | NG4 | Monitoring module | Build America Buy America (BABA) compliant*
NG4-VMMLF4H |  | Variant of NG4-MON-MODULES | NG4access® Module VAM, Monitoring, 70/30, singlemode, LC/APC, front, left, 4 circuits |  | NG4access® | FACT ¦ NG4 | Monitoring module | Build America Buy America (BABA) compliant*
NG4-ACCNG3TRANS |  | Variant of NG4-ODF-ACCESSORIES | NG4access® Rack Transition Kit, NG4access to NG3 frames |  | NG4access® | NG4 | Transition kit
NG4-ACCNGFTRANS |  | Variant of NG4-ODF-ACCESSORIES | NG4access® Rack Transition Kit, NG4access to NGF frames |  | NG4access® | NG4 | Transition kit
NG4-ACCFOTSP |  | Variant of NG4-ODF-ACCESSORIES | NG4access® FOTSP Fiber Storage Frame |  | NG4access® | NG4 | Frame
NG4-ACCISOPFRM |  | Variant of NG4-ODF-ACCESSORIES | NG4access® Frame Isolation Pad |  | NG4access® | NG4 | Isolation pad
NG4-ACCISOPIFRM |  | Variant of NG4-ODF-ACCESSORIES | NG4access® Integrated Frame Isolation Pad |  | NG4access® | NG4 | Isolation pad
760242618 | NG4-CH100000-2B | Variant of NG4-CHASSIS | NG4access® 2RU Universal Chassis, 12 access trays, front door and designation cards | CommScope® | NG4access® | NG4 | Fiber patch chassis