## Products
Part Number | Part Name | Part Indicator | Description | Portfolio | Product Brand | Product Series | Product Type | Government Requirements | Status
UGGRXUCYR |  | Base Product | Hybrid Ultra Low Loss (ULL) Singlemode G.657.A2 MPO16 (Pinned) to Unconnectorized, 2 Pair 16AWG Constellation Trunk Cable Assembly, 16-Fiber, Plenum | CommScope® | SYSTIMAX ULL | UGG | Hybrid trunk cable assembly ¦ 2-pair
UGGRXRXZR |  | Base Product | Hybrid Ultra Low Loss (ULL) Singlemode G.657.A2 MPO16 (Pinned) to MPO16 (Pinned) , 4 Pair 16AWG Constellation Trunk Cable Assembly, 16-Fiber, Plenum | CommScope® | SYSTIMAX ULL | UGG | Hybrid trunk cable assembly ¦ 4-pair
UGGRXUCZR |  | Base Product | Hybrid Ultra Low Loss (ULL) Singlemode G.657.A2 MPO16 (Pinned) to Unconnectorized , 4 Pair 16AWG Constellation Trunk Cable Assembly, 16-Fiber, Plenum | CommScope® | SYSTIMAX ULL | UGG | Hybrid trunk cable assembly ¦ 4-pair
UGGQXUCY8 |  | Base Product | Hybrid Ultra Low Loss (ULL) Singlemode G.657.A2 MPO8 (Pinned) to Unconnectorized , 2 Pair 16AWG Constellation Trunk Cable Assembly, 8-Fiber, Plenum | CommScope® | SYSTIMAX ULL | UGG | Hybrid trunk cable assembly ¦ 2-pair
UGGQXQXZ8 |  | Base Product | Hybrid Ultra Low Loss (ULL) Singlemode G.657.A2 MPO8 (Pinned) to MPO8 (Pinned) , 4 Pair 16AWG Constellation Trunk Cable Assembly, 8-Fiber, Plenum | CommScope® | SYSTIMAX ULL | UGG | Hybrid trunk cable assembly ¦ 4-pair
UGGRXRXYR |  | Base Product | Hybrid Ultra Low Loss (ULL) Singlemode G.657.A2 MPO16 (Pinned) to MPO16 (Pinned), 2 Pair 16AWG Constellation Trunk Cable Assembly, 16-Fiber, Plenum | CommScope® | SYSTIMAX ULL | UGG | Hybrid trunk cable assembly ¦ 2-pair
COP66S2 |  | Base Product | MiNo6 Series Category 6 Performance U/UTP Reduced Diameter LS-CM Dual Rated Patch Cord, Eco-packaging | CommScope® |  | CO | Twisted pair patch cord
CO11192 |  | Base Product | CommScope CAT 6A, F/UTP, Outdoor Rated Patch Cord | CommScope® |  | CO | Twisted pair patch cord
CO15542 |  | Base Product | CommScope Cat 6, UTP, Outdoor Patch Cord | CommScope® |  | CO | Twisted pair patch cord
CO15582 |  | Base Product | CommScope Cat 6A, UTP, Outdoor Patch Cord | CommScope® |  | CO | Twisted pair patch cord
CO166S2 |  | Base Product | MiNo6 Cat 6 U/UTP Reduced Diameter RJ45 Patch Cord, LS-CM Dual Rated | CommScope® |  | CO ¦ UTG | Twisted pair patch cord
CPC2222 |  | Base Product | GigaSPEED XL® MGS400 to MGS400 on 3071 Solid Low Smoke Zero Halogen Cable Pre-terminated Cord | SYSTIMAX® | GigaSPEED XL® | CPC | Twisted pair patch cord
CPC3222 |  | Base Product | GigaSPEED XL® GS8E to MGS400 on 3071 Solid Low Smoke Zero Halogen Cable Zone Extension Cord | SYSTIMAX® | GigaSPEED XL® | CPC | Twisted pair patch cord
CPC3372 |  | Base Product | GigaSPEED XL® GS8E Solid Plenum Cable Modular Patch Cord | SYSTIMAX® | GigaSPEED XL® | CPC ¦ UTG | Twisted pair patch cord
CPC3392 |  | Base Product | GigaSPEED XL® Cat 6 Patch Cord, LSZH | SYSTIMAX® | GigaSPEED XL® | CPC ¦ UTG | Twisted pair patch cord
CPC3422 |  | Base Product | GigaSPEED XL® GS8E Single-ended Low Smoke Zero Halogen Cable, Modular Patch Cord | SYSTIMAX® | GigaSPEED XL® | CPC ¦ UTG | Twisted pair patch cord
CPCSSX2 |  | Base Product | GigaSPEED X10D® Cat 6A U/UTP Patch Cord, Non-Plenum | SYSTIMAX® | GigaSPEED X10D® | CON ¦ CPC ¦ UTG | Twisted pair patch cord
760261709 | R-016-HY-8G1-F30YL/4X16AWG/CTX | Variant | Constellation® I/O Riser Hybrid Fault Managed Power Cable, 16 Fiber Loose Tube, 4 Conductor 16 AWG Twisted Pairs | CommScope® | Constellation™ |  | Hybrid cable ¦ copper and fiber
760258513 | 2073A BLU C6 4/21 U/UTP R1000 | Variant of 2073A | GigaREACH™ XL 2073A Category 6 U/UTP Cable, CMP Plenum, blue jacket, 4 pair count, 1000 ft (305 m) length, reel | SYSTIMAX® | GigaREACH™ XL |  | Twisted pair cable
760258514 | 2073A WHT C6 4/21 U/UTP R1000 | Variant of 2073A | GigaREACH™ XL 2073A Category 6 U/UTP Cable, CMP Plenum, white jacket, 4 pair count, 1000 ft (305 m) length, reel | SYSTIMAX® | GigaREACH™ XL |  | Twisted pair cable
760258511 | 3073A BLU C6 4/21 U/UTP R1000 | Variant of 3073A | GigaREACH™ XL 3073A Category 6 U/UTP Cable, low smoke zero halogen, blue jacket, 4 pair count, 1000 ft (305 m) length, reel | SYSTIMAX® | GigaREACH™ XL |  | Twisted pair cable
760258035 | CPCR-1 SI | Variant | Constellation Rackmount FMP Receiver with power service outlets in 230 VAC, 48 VDC, and 24 VDC form |  | Constellation™ |  | Power distribution unit
760258036 | CPCR-1 DN | Variant | Constellation Rackmount Dual FMP Receiver with power service outlets in 110 VAC, 48 VDC, and 24 VDC form |  | Constellation™ |  | Power distribution unit
760258037 | CPCR-1 DI | Variant | Constellation Rackmount Dual FMP Receiver with power service outlets in 230 VAC, 48 VDC, and 24 VDC form |  | Constellation™ |  | Power distribution unit
760235587 | CCA-CAT6-PLENUM-BLACK-N018 | Variant of CCA-CORDS | CommScope® Category 6 U/UTP Cord, Plenum , RJ45 to Ceiling connector, 1.5 ft, black | CommScope® |  |  | Twisted pair patch cord
760259926 | 2073A WHT C6 4/21 U/UTP R3000 | Variant of 2073A | GigaREACH™ XL 2073A Category 6 U/UTP Cable, CMP Plenum, white jacket, 4 pair count, 3000 ft (915 m) length, reel | SYSTIMAX® | GigaREACH™ XL |  | Twisted pair cable
AZ760258511 |  | Variant of 3073A | GigaREACH™ XL 3073A Category 6 U/UTP Cable, low smoke zero halogen, blue jacket, 4 pair count, 1000 ft (305 m) length, reel | SYSTIMAX® | GigaREACH™ XL |  | Twisted pair cable
AZ760259259 |  | Variant of 3073A | GigaREACH™ XL 3073A Category 6 U/UTP Cable, low smoke zero halogen, blue jacket, 4 pair count, 3000ft (915 m) length, reel | SYSTIMAX® | GigaREACH™ XL |  | Twisted pair cable
AZ760259260 | 3073A WHT C6 4/21 U/UTP R3000 (RCM) | Variant of 3073A | GigaREACH™ XL 3073A Category 6 U/UTP Cable, low smoke zero halogen, white jacket, 4 pair count, 3000 ft (915 m) length, reel | SYSTIMAX® | GigaREACH™ XL |  | Twisted pair cable
760259259 | 3073A BLU C6 4/21 U/UTP R3000 | Variant of 3073A | GigaREACH™ XL 3073A Category 6 U/UTP Cable, low smoke zero halogen, blue jacket, 4 pair count, 3000ft (915 m) length, reel | SYSTIMAX® | GigaREACH™ XL |  | Twisted pair cable
760259248 | 1073A BLU C6 4/21 U/UTP R3000 | Variant of 1073A | GigaREACH™ XL "Extended Distance" 1073A Category 6 U/UTP Cable, CMR Riser, blue jacket, 4 pair count, 3000 ft (915 m) length, reel | SYSTIMAX® | GigaREACH™ XL |  | Twisted pair cable
760259249 | 1073A WHT C6 4/21 U/UTP R3000 | Variant of 1073A | GigaREACH™ XL "Extended Distance" 1073A Category 6 U/UTP Cable, CMR Riser, white jacket, 4 pair count, 3000 ft (915 m) length, reel | SYSTIMAX® | GigaREACH™ XL |  | Twisted pair cable
760252606 |  | Variant | Modular Plug Hand Tool For 8P MP .310 CAT 6/6A, UTP GigaREACH | CommScope® |  |  | Modular plug handtool kit
760258800 |  | Variant of FT-MP | GigaREACH Modular Plug Kit, 8 pin configuration, Cat 6, UTP, 100PC | CommScope® |  |  | Modular plug
760258357 | PPL-FA-5U-VCM | Variant of PROPEL-XFRAME-PANELS | Propel 5RU front access fiber panel with cable trough for Propel XFrame. Accepts 24, 16 fiber or 48, 8 fiber Propel ULL modules, splice cassettes or 8 port/4 port adapter packs | CommScope® | Propel | PPL | Fiber patch panel
760155739 | 360-E-KIT-1U | Variant of 360-DM-PANELS | SYSTIMAX 360™ GigaSPEED X10D® and GigaSPEED XL® Unshielded Panel Kit, 1U, Silver | SYSTIMAX® | GigaSPEED X10D® ¦ SYSTIMAX 360™ | NA | RJ45 patch panel
760155747 | 360-E-KIT-2U | Variant of 360-DM-PANELS | SYSTIMAX 360™ GigaSPEED X10D® and GigaSPEED XL® Unshielded Panel Kit, 1U, Silver | SYSTIMAX® | GigaSPEED X10D® ¦ SYSTIMAX 360™ | NA | RJ45 patch panel
PFP-PX-A1 |  | Variant | Power Express Alarm Card for PFP-PX-S1 and PFP-PX-S2 |  |  |  | Controller module
760151753 | 360-IPR-1100A-E-GS3-2U-48 | Variant of 360-DM-PANELS | SYSTIMAX 360™ GigaSPEED XL® Unshielded Angled Panel Cat6, 2U, 48 port, Silver | SYSTIMAX® | GigaSPEED XL® | NA | RJ45 patch panel
760152793 | 360-A-E-KIT-2U | Variant of 360-DM-PANELS | SYSTIMAX 360™ GigaSPEED X10D® and GigaSPEED XL® Unshielded Angled Panel Kit, 1U, Silver | SYSTIMAX® | GigaSPEED X10D® ¦ SYSTIMAX 360™ | NA | RJ45 patch panel
760152561 | 360-IPR-1100-E-GS3-1U-24 | Variant of 360-DM-PANELS | SYSTIMAX 360™ GigaSPEED XL® Unshielded Panel Cat6, 1U, 24 port, Silver | SYSTIMAX® | GigaSPEED XL® | NA | RJ45 patch panel
760152785 | 360-A-E-KIT-1U | Variant of 360-DM-PANELS | SYSTIMAX 360™ GigaSPEED X10D® and GigaSPEED XL® Unshielded Angled Panel Kit, 1U, Silver | SYSTIMAX® | GigaSPEED X10D® ¦ SYSTIMAX 360™ | NA | RJ45 patch panel
760184507 | FLEXIMAX | Variant | Unshielded Modular Panel, M-series, 1U, 24 port, Black | CommScope® |  | M Series | RJ45 patch panel
760117366 | 360-PM-GS3-2U-48 | Variant of 360-DM-PANELS | SYSTIMAX 360™ GigaSPEED XL® PATCHMAX® GS3 Category 6 U/UTP Patch Panel, 2U, 48 port, silver | SYSTIMAX® | GigaSPEED XL® ¦ PATCHMAX® ¦ SYSTIMAX 360™ | NA | RJ45 patch panel
760117382 | 360-PM-GS3-DM12 | Variant | SYSTIMAX 360™ GigaSPEED XL® PATCHMAX® Unshielded Distribution Module Cat6, 12 port, Gray | SYSTIMAX® | GigaSPEED XL® ¦ PATCHMAX® ¦ SYSTIMAX 360™ |  | Module |  | Discontinued
760117408 | 360-PM-KIT-2U-48 | Variant of 360-DM-PANELS | SYSTIMAX 360™ PATCHMAX® Panel Kit, 2U, 48 port | SYSTIMAX® | GigaSPEED X10D® | NA | RJ45 patch panel |  | Discontinued
760248943 |  | Variant | Kit, SMB, 1 Fiber Port, 1 Power Port, White | CommScope® |  | SL Series ¦ SLX Series | Surface mount module
760248944 |  | Variant | Kit, SMB, 1 Fiber Port, 1 Power Port, Beige | CommScope® |  | SL Series ¦ SLX Series | Surface mount module
760248942 |  | Variant | Kit, SMB, 1 Fiber Port, 1 Power Port, Black | CommScope® |  | SL Series ¦ SLX Series | Surface mount module
760250041 | ECO MGS400-WH-24 | Variant of MGS400 | GigaSPEED XL® M-Series Modular Jack, RJ45, Cat6 Unshielded, White (24 ea/pkg) | SYSTIMAX® | GigaSPEED XL® | MGS400 | Modular jack
760250043 | ECO MGS400-BL-24 | Variant of MGS400 | GigaSPEED XL® M-Series Modular Jack, RJ45, Cat6 Unshielded, Blue (24 ea/pkg) | SYSTIMAX® | GigaSPEED XL® | MGS400 | Modular jack
CO13JX2-88F002 | CCA-CAT6-WH-2FT | Variant of CCA-CORDS | CommScope® Category 6 U/UTP Cord, Plenum, RJ45 to Ceiling connector, 2 ft, white | CommScope® |  |  | Twisted pair patch cord
CO13JX2-88F003 | CCA-CAT6-WH-3FT | Variant of CCA-CORDS | CommScope® Category 6 U/UTP Cord, Plenum, RJ45 to Ceiling connector, 3 ft, white | CommScope® |  |  | Twisted pair patch cord
CO13JX2-88F007 | CCA-CAT6-WH-7FT | Variant of CCA-CORDS | CommScope® Category 6 U/UTP Cord, Plenum, RJ45 to Ceiling connector, 7 ft, white | CommScope® |  |  | Twisted pair patch cord
CO13JX2-88F011 | CCA-CAT6-WH-11FT | Variant of CCA-CORDS | CommScope® Category 6 U/UTP Cord, Plenum, RJ45 to Ceiling connector, 11 ft, white | CommScope® |  |  | Twisted pair patch cord
CO13JX2-88F025 | CCA-CAT6-WH-25FT | Variant of CCA-CORDS | CommScope® Category 6 U/UTP Cord, Plenum, RJ45 to Ceiling connector, 25 ft, white | CommScope® |  |  | Twisted pair patch cord
CO13JX2-88F030 | CCA-CAT6-WH-30FT | Variant of CCA-CORDS | CommScope® Category 6 U/UTP Cord, Plenum, RJ45 to Ceiling connector, 30 ft, white | CommScope® |  |  | Twisted pair patch cord
760252352 | PPL-DM-16AU-16LC-SM-BEU | Variant of PROPEL-MODULES | Propel ULL Singlemode MPO-16 Distribution Module, 8 duplex LC/UPC to 1X16f MPO/APC non-pinned, Method B Enhanced | CommScope® | Propel | PPL | Fiber module
PFC-304O12 |  | Variant | FiberREACH™ Powered Fiber Cable, OM3, 4 Fibers, Outdoor, 12AWG Conductor, meter, feet |  | FiberREACH™ |  | Hybrid cable ¦ fiber and power
PFC-302L16 |  | Variant | FiberREACH™ Powered Fiber Cable, OM3, 2 Fibers, Indoor/Outdoor, 16AWG Conductor, meter, feet |  | FiberREACH™ |  | Hybrid cable ¦ fiber and power
PFU-12-C-O-060-01 |  | Variant | Power Extender, Universal Mount, Outdoor, 12 Vdc, Fiber Pass Through |  |  |  | Power extender
PFC-304O16 |  | Variant | FiberREACH™ Powered Fiber Cable, OM3, 4 Fibers, Outdoor, 16AWG Conductor, meter, feet |  | FiberREACH™ |  | Hybrid cable ¦ fiber and power
PFC-S02L12 |  | Variant | FiberREACH™ Powered Fiber Cable, OS2, 2 Fibers, Indoor/Outdoor, 12AWG Conductor, meter, feet. |  | FiberREACH™ |  | Hybrid cable ¦ fiber and power
PFU-48-C-O-060-01 |  | Variant | Power Extender, Universal Mount, Outdoor, 48 Vdc, Fiber Pass Through |  |  |  | Power extender
PFC-S12O16 |  | Variant | FiberREACH™ Powered Fiber Cable, OS2, 12 Fibers, Outdoor, 16AWG Conductor, meter, feet |  | FiberREACH™ |  | Hybrid cable ¦ fiber and power
PFC-S04O12 |  | Variant | FiberREACH™ Powered Fiber Cable, OS2, 4 Fibers, Outdoor, 12AWG Conductor, meter, feet |  | FiberREACH™ |  | Hybrid cable ¦ fiber and power
PFC-S12L12 |  | Variant | FiberREACH™ Powered Fiber Cable, OS2, 12 Fibers, Indoor/Outdoor 12AWG Conductor, meter, feet. |  | FiberREACH™ |  | Hybrid cable ¦ fiber and power
PFC-S02O16 |  | Variant | FiberREACH™ Powered Fiber Cable, OS2, 2 Fibers, Outdoor, 16AWG Conductor, meter, feet |  | FiberREACH™ |  | Hybrid cable ¦ fiber and power
PFC-S12L16 |  | Variant | FiberREACH™ Powered Fiber Cable, OS2, 12 Fibers, Indoor/Outdoor, 16AWG Conductor, meter, feet |  | FiberREACH™ |  | Hybrid cable ¦ fiber and power
PFU-P-C-O-060-01 |  | Variant | PoE Extender (1 Gbps), Universal Mount, Outdoor, 1-Port |  |  |  | PoE extender/Media converter
PFP-PX-S1 |  | Variant | Power Express Class 2 shelf and starter kit, accomodates up to 4 modules of 8 SELV/Class 2 outputs, 1U |  |  |  | Power supply subrack
PFC-S04L16 |  | Variant | FiberREACH™ Powered Fiber Cable, OS2, 4 Fibers, Indoor/Outdoor, 16AWG Conductor, meter, feet |  | FiberREACH™ |  | Hybrid cable ¦ fiber and power
PFU-P-C-O-060-02 |  | Variant | PoE Extender, 2 Port Universal Mount, Outdoor, 2-Port |  |  |  | PoE unit
PFC-S12O12 |  | Variant | FiberREACH™ Powered Fiber Cable, OS2, 12 Fibers, Outdoor, 12AWG Conductor, meter, feet |  | FiberREACH™ |  | Hybrid cable ¦ fiber and power
PFP-PX-SF |  | Variant | Power Express Slot Filler, used when a module slot is empty |  |  |  | Blank module
PFP-SPS-SF |  | Variant | Slimline SPS Slot Filler, used when a module slot is empty |  |  |  | Blank module
760102269 | 360-PM-GS3-DM6 | Variant | SYSTIMAX 360™ GigaSPEED XL® PATCHMAX® Unshielded Distribution Module Cat6, 6 port, Gray | SYSTIMAX® | GigaSPEED XL® ¦ PATCHMAX® ¦ SYSTIMAX 360™ |  | Module |  | Discontinued
700206717 | MGS400-IV | Variant of MGS400 | GigaSPEED XL® M-Series Modular Jack, RJ45, Cat6 Unshielded, Ivory | SYSTIMAX® | GigaSPEED XL® | MGS400 | Modular jack
700206725 | MGS400-WH | Variant of MGS400 | GigaSPEED XL® M-Series Modular Jack, RJ45, Cat6 Unshielded, White | SYSTIMAX® | GigaSPEED XL® | MGS400 | Modular jack
700206758 | MGS400-BL | Variant of MGS400 | GigaSPEED XL® M-Series Modular Jack, RJ45, Cat6 Unshielded, Blue | SYSTIMAX® | GigaSPEED XL® | MGS400 | Modular jack
700206683 | MGS400-OR | Variant of MGS400 | GigaSPEED XL® M-Series Modular Jack, RJ45, Cat6 Unshielded, Orange | SYSTIMAX® | GigaSPEED XL® | MGS400 | Modular jack
700206691 | MGS400-YL | Variant of MGS400 | GigaSPEED XL® M-Series Modular Jack, RJ45, Cat6 Unshielded, Yellow | SYSTIMAX® | GigaSPEED XL® | MGS400 | Modular jack
700206709 | MGS400-GN | Variant of MGS400 | GigaSPEED XL® M-Series Modular Jack, RJ45, Cat6 Unshielded, Green | SYSTIMAX® | GigaSPEED XL® | MGS400 | Modular jack
760049445 | VP360-4U-32P | Variant | GigaSPEED X10D® VisiPatch® 360 4U Patch Panel Kit (Kit includes 2 assemblies as shown) | SYSTIMAX® | VisiPatch® |  | Back mount frame kit
760049452 | VP360-12U-96P | Variant | GigaSPEED X10D® VisiPatch® 360 12U Patch Panel Kit | SYSTIMAX® | VisiPatch® |  | Back mount frame kit
760258034 | CPCR-1 SN | Variant | Constellation Rackmount FMP Receiver with power service outlets in 110 VAC, 48 VDC, and 24 VDC form |  | Constellation™ |  | Power distribution unit
760252004 | PPL-4U | Variant of PROPEL-PANELS | Propel 4RU sliding tray fiber panel, accepts Propel ULL modules or adapter packs, providing up to 288 duplex LC ports, 288 MPO ports or 576 SN ports (1152f) | CommScope® | Propel | PPL | Fiber patch panel
760252334 | PPL-DM-8AU-8LC-SM-BEU | Variant of PROPEL-MODULES | Propel ULL Singlemode MPO-08 Distribution Module, 4 duplex LC/UPC to 1X8f MPO/APC non-pinned, Method B Enhanced | CommScope® | Propel | PPL | Fiber module
760255004 | P-016-HY-8G1-F30YL/4X16AWG/CTX | Variant | Constellation® Plenum Hybrid Fault Managed Power Cable, 16 Fiber Loose Tube, 4 Conductor 16 AWG Twisted Pairs | CommScope® | Constellation™ |  | Hybrid cable ¦ copper and fiber
760254865 | PPL-1U-HD-FX-OPEN | Variant of PROPEL-PANELS | Propel 1RU fixed tray open fiber panel, accepts Propel components, providing up to 48 duplex LC ports, 48 MPO ports or 96 SN ports (192f) | CommScope® | Propel | PPL | Fiber patch panel
760255954 | PPL-2U-W | Variant of PROPEL-PANELS | Propel 2RU sliding tray white fiber panel, accepts Propel ULL modules or adapter packs, providing up to 144 duplex LC ports, 144 MPO ports or 288 SN ports (576f) | CommScope® | Propel | PPL | Fiber patch panel
760255955 | PPL-4U-W | Variant of PROPEL-PANELS | Propel 4RU sliding tray white fiber panel, accepts Propel ULL modules or adapter packs, providing up to 288 duplex LC ports, 288 MPO ports or 576 SN ports (1152f) | CommScope® | Propel | PPL | Fiber patch panel
760252854 | CPCE-1 | Variant | Constellation™ Enclosure, secure equipment enclosure providing 5RU of 19 inch rack space as well as 0RU accommodations for Propel and G2 modules. |  | Constellation™ |  | Enclosure
760252855 | CPCB-1 | Variant | Constellation™ Powered Backplane power conditioning component mounts to the CPCE-1, for managing the transition, with power service outlets in 110 VAC, 48 VDC, and 24 VDC form |  | Constellation™ |  | Backplane
760254285 | CPCX-12 | Variant | Constellation™ Power Transmitter Chassis, capable of energizing up to ten enclosures with management module that provides remote access/monitoring/control of the Constellation power delivery system |  | Constellation™ |  | Power source
760254288 | CTX-6 | Variant | Constellation™ Transmitter Card, 600 W, fault managed power delivery card interface between the CPCX-12 and the power delivery cabling. Up to 24 can be loaded into the CPCX-12 |  | Constellation™ |  | Power transmitter card
760254293 | CPT-PP-48C | Variant | Constellation™ Power Transition Panel, with 48 color coded terminal blocks providing a transition point from 20 AWG to 16 AWG cabling, 19 in, 2RU |  | Constellation™ |  | Power transition unit
760254642 | PM500-COVER | Variant | Constellation™ optional blanking cover for unused power supply bays in CPCX-12 |  | Constellation™ |  | Blanking cover
760252003 | PPL-2U | Variant of PROPEL-PANELS | Propel 2RU sliding tray fiber panel, accepts Propel ULL modules or adapter packs, providing up to 144 duplex LC ports, 144 MPO ports or 288 SN ports (576f) | CommScope® | Propel | PPL | Fiber patch panel
760249095 |  | Variant | Kit, SMB, 2 Fiber Ports, 2 Power Ports, Beige | CommScope® |  | SL Series ¦ SLX Series | Surface mount module
760249094 |  | Variant | Kit, SMB, 2 Fiber Ports, 2 Power Ports, White | CommScope® |  | SL Series ¦ SLX Series | Surface mount module
760249093 |  | Variant | Kit, SMB, 2 Fiber Ports, 2 Power Ports, Black | CommScope® |  | SL Series ¦ SLX Series | Surface mount module
1933943-2 |  | Variant | Modular Plug Shielded Hooded Boot for Category 6A/6 Plugs, .310 mm, Gray | CommScope® |  |  | Modular plug boot
760258354 | PPL-FA-3U-HCM | Variant of PROPEL-XFRAME-PANELS | Propel 3RU front access fiber panel for Propel XFrame. Accepts 24, 12 fiber Propel ULL modules, splice cassettes or 6 port adapter packs | CommScope® | Propel | PPL | Fiber patch panel
760258355 | PPL-FA-4U-VCM | Variant of PROPEL-XFRAME-PANELS | Propel 4RU front access fiber panel with cable trough for Propel XFrame. Accepts 24, 12 fiber Propel ULL modules, splice cassettes or 6 port adapter packs | CommScope® | Propel | PPL | Fiber patch panel
760258481 | 1573A BLK C6 4/21 U/UTP R1000 | Variant of 1573A | GigaREACH™ XL "Extended Distance" 1573A Category 6 U/UTP Cable, gel-filled outdoor, black jacket, 4 pair count, 1000 ft (305 m) length, reel | SYSTIMAX® | GigaREACH™ XL |  | Twisted pair cable
760258509 | 1073A BLU C6 4/21 U/UTP R1000 | Variant of 1073A | GigaREACH™ XL "EXTENDED DISTANCE" 1073A Category 6 U/UTP Cable, CMR Riser, blue jacket, 4 pair count, 1000 ft (305 m) length, reel | SYSTIMAX® | GigaREACH™ XL |  | Twisted pair cable
760258510 | 1073A WHT C6 4/21 U/UTP R1000 | Variant of 1073A | GigaREACH™ XL "EXTENDED DISTANCE" 1073A Category 6 U/UTP Cable, CMR Riser, white jacket, 4 pair count, 1000 ft (305 m) length, reel | SYSTIMAX® | GigaREACH™ XL |  | Twisted pair cable
760258512 | 3073A WHT C6 4/21 U/UTP R1000 | Variant of 3073A | GigaREACH™ XL 3073A Category 6 U/UTP Cable, low smoke zero halogen, white jacket, 4 pair count, 1000 ft (305 m) length, reel | SYSTIMAX® | GigaREACH™ XL |  | Twisted pair cable
CO11152 |  | Base Product | CommScope CAT 6, F/UTP, Outdoor Rated Patch Cord | CommScope® |  | CO | Twisted pair patch cord
CPP3392 |  | Base Product | GigaSPEED XL® GS8E Stranded Low Smoke Zero Halogen Cordage Modular Patch Cord, Eco-Packaging | SYSTIMAX® | GigaSPEED XL® | CPP | Twisted pair patch cord
CO199K2 |  | Base Product | MiNo6A Cat 6A U/UTP Reduced Diameter RJ45 Patch Cord, LS-CM Dual Rated | CommScope® |  | CO ¦ CON ¦ UTG | Twisted pair patch cord
CPC3312 |  | Base Product | GigaSPEED XL® Cat 6 RJ45 Patch Cord, Non-Plenum | SYSTIMAX® | GigaSPEED XL® | CPC ¦ UTG | Twisted pair patch cord
CPC3472 |  | Base Product | GigaSPEED XL® GS8E Single End Solid Plenum Cable Modular Patch Cord | SYSTIMAX® | GigaSPEED XL® | CPC ¦ UTG | Twisted pair patch cord
CPC3482 |  | Base Product | GigaSPEED XL® GS8E Single End Solid Cable Modular Patch Cord | SYSTIMAX® | GigaSPEED XL® | CPC ¦ UTG | Twisted pair patch cord
CPCS4X2 |  | Base Product | GigaSPEED X10D® Cat 6A 360GS10E Single End Solid Cordage Modular Patch Cord | SYSTIMAX® | GigaSPEED X10D® | CON ¦ CPC ¦ UTG | Twisted pair patch cord
CPCSSY2 |  | Base Product | GigaSPEED X10D® Cat 6A 360GS10E Solid Plenum Cordage Modular Patch Cord | SYSTIMAX® | GigaSPEED X10D® | CON ¦ CPC ¦ UTG | Twisted pair patch cord
760261708 | R-016-HY-8G1-F54BK/8X16AWG/CTX | Variant | Constellation® I/O Riser Cable, 4 pair 16 AWG, 16 OS2 SM fibers | CommScope® | Constellation™ |  | Hybrid cable ¦ copper and fiber
PFP-PX-S2 |  | Variant | Power Express Class 2 shelf, accomodates up to 2 modules of 8 SELV/Class 2 outputs, 1U | CommScope® |  |  | Power supply subrack
760259925 | 2073A BLU C6 4/21 U/UTP R3000 | Variant of 2073A | GigaREACH™ XL 2073A Category 6 U/UTP Cable, CMP Plenum, blue jacket, 4 pair count, 3000 ft (915 m) length, reel | SYSTIMAX® | GigaREACH™ XL |  | Twisted pair cable
760252279 | ECO MGS400-OR-24 | Variant of MGS400 | GigaSPEED XL® M-Series Modular Jack, RJ45, Cat6 Unshielded, Orange (24 ea/pkg) | SYSTIMAX® | GigaSPEED XL® | MGS400 | Modular jack
760252282 | ECO MGS400-GN-24 | Variant of MGS400 | GigaSPEED XL® M-Series Modular Jack, RJ45, Cat6 Unshielded, Green (24 ea/pkg) | SYSTIMAX® | GigaSPEED XL® | MGS400 | Modular jack
UGGQXQXY8 |  | Base Product | Hybrid Ultra Low Loss (ULL) Singlemode G.657.A2 MPO8 (Pinned) to MPO8 (Pinned) , 2 Pair 16AWG Constellation Trunk Cable Assembly, 8-Fiber, Plenum | CommScope® | SYSTIMAX ULL | UGG | Hybrid trunk cable assembly ¦ 2-pair
UGGQXUCZ8 |  | Base Product | Hybrid Ultra Low Loss (ULL) Singlemode G.657.A2 MPO8 (Pinned) to Unconnectorized , 4 Pair 16AWG Constellation Trunk Cable Assembly, 8-Fiber, Plenum | CommScope® | SYSTIMAX ULL | UGG | Hybrid trunk cable assembly ¦ 4-pair
AZ760258512 |  | Variant of 3073A | GigaREACH™ XL 3073A Category 6 U/UTP Cable, low smoke zero halogen, white jacket, 4 pair count, 1000 ft (305 m) length, reel | SYSTIMAX® | GigaREACH™ XL |  | Twisted pair cable
760259115 | PPL-1U-ANG-FX | Variant of PROPEL-PANELS | Propel 1RU fixed tray angled fiber panel, accepts Propel ULL components, providing up to 72 duplex LC ports, 72 MPO ports or 144 SN ports (288f). For use with 8 fiber, 12 fiber or 24 fiber components | CommScope® | Propel | PPL | Fiber patch panel
PFU-P-C-O-090-02 |  | Variant | PoE Extender, 2 Port Universal Mount, Outdoor, 90 W |  |  |  | PoE unit
760259260 | 3073A WHT C6 4/21 U/UTP R3000 | Variant of 3073A | GigaREACH™ XL 3073A Category 6 U/UTP Cable, low smoke zero halogen, white jacket, 4 pair count, 3000 ft (915 m) length, reel | SYSTIMAX® | GigaREACH™ XL |  | Twisted pair cable
760258679 | 1573A BLK C6 4/21 U/UTP R3000 | Variant of 1573A | GigaREACH™ XL "Extended Distance" 1573A Category 6 U/UTP Cable, gel-filled outdoor, black jacket, 4 pair count, 3000 ft (915 m) length, reel | SYSTIMAX® | GigaREACH™ XL |  | Twisted pair cable
760259000 |  | Variant of FT-MP | GigaREACH Modular Plug Kit, 8 pin configuration, Cat 6, UTP, 25PC | CommScope® |  |  | Modular plug
760258356 | PPL-FA-4U-HCM | Variant of PROPEL-XFRAME-PANELS | Propel 4RU front access fiber panel for Propel XFrame. Accepts 24, 16 fiber or 48, 8 fiber Propel ULL modules, splice cassettes or 8 port/4 port adapter packs | CommScope® | Propel | PPL | Fiber patch panel
760108993 | 360-PM-KIT-2U-24 | Variant of 360-DM-PANELS | SYSTIMAX 360™ PATCHMAX® Panel Kit, 2U, 24 port | SYSTIMAX® | GigaSPEED X10D® | NA | RJ45 patch panel |  | Discontinued
760151167 | 360-IPR-1100-GS3-DM6 | Variant | SYSTIMAX 360™ GigaSPEED XL® Unshielded Distribution Module Cat6, 6 port, Gray | SYSTIMAX® | GigaSPEED XL® |  | Module
760151308 | 360-IPR-1100A-E-GS3-1U-24 | Variant of 360-DM-PANELS | SYSTIMAX 360™ GigaSPEED XL® Unshielded Angled Panel Cat6, 1U, 24 port, Silver | SYSTIMAX® | GigaSPEED XL® | NA | RJ45 patch panel
760152579 | 360-IPR-1100-E-GS3-2U-48 | Variant of 360-DM-PANELS | SYSTIMAX 360™ GigaSPEED XL® Unshielded Panel Cat6, 2U, 48 port, Silver | SYSTIMAX® | GigaSPEED XL® | NA | RJ45 patch panel
760234921 | CCA-WH | Variant of CCA-CONNECTORS | Unshielded Ceiling Connector Assembly (CCA) without cordage, White | CommScope® |  |  | Connector kit
760102244 | 360-PM-GS3-2U-24 | Variant of 360-DM-PANELS | SYSTIMAX 360™ GigaSPEED XL® PATCHMAX® GS3 Unshielded Panel Cat 6, 2U, 24 port, Silver | SYSTIMAX® | GigaSPEED XL® ¦ PATCHMAX® | NA | RJ45 patch panel
760252002 | PPL-1U | Variant of PROPEL-PANELS | Propel 1RU sliding tray fiber panel, accepts Propel ULL modules or adapter packs, providing up to 72 duplex LC ports, 72 MPO ports or 144 SN ports (288f) | CommScope® | Propel | PPL | Fiber patch panel
760250042 | ECO MGS400-BK-24 | Variant of MGS400 | GigaSPEED XL® M-Series Modular Jack, RJ45, Cat6 Unshielded, Black (24 ea/pkg) | SYSTIMAX® | GigaSPEED XL® | MGS400 | Modular jack
760250044 | ECO MGS400-IV-24 | Variant of MGS400 | GigaSPEED XL® M-Series Modular Jack, RJ45, Cat6 Unshielded, Ivory (24 ea/pkg) | SYSTIMAX® | GigaSPEED XL® | MGS400 | Modular jack
760244061 | CCA-BK | Variant of CCA-CONNECTORS | Unshielded Ceiling Connector Assembly (CCA) without cordage, Black | CommScope® |  |  | Connector kit
CO13JX2-88N018 | CCA-CAT6-WH-18IN | Variant of CCA-CORDS | CommScope® Category 6 U/UTP Cord, Plenum, RJ45 to Ceiling connector, 18 in, white | CommScope® |  |  | Twisted pair patch cord
CO13JX2-88F015 | CCA-CAT6-WH-15FT | Variant of CCA-CORDS | CommScope® Category 6 U/UTP Cord, Plenum, RJ45 to Ceiling connector, 15 ft, white | CommScope® |  |  | Twisted pair patch cord
CO13JX2-88F020 | CCA-CAT6-WH-20FT | Variant of CCA-CORDS | CommScope® Category 6 U/UTP Cord, Plenum, RJ45 to Ceiling connector, 20 ft, white | CommScope® |  |  | Twisted pair patch cord
CO13JX2-88F040 | CCA-CAT6-WH-40FT | Variant of CCA-CORDS | CommScope® Category 6 U/UTP Cord, Plenum, RJ45 to Ceiling connector, 40 ft, white | CommScope® |  |  | Twisted pair patch cord
CO13JX2-88F050 | CCA-CAT6-WH-50FT | Variant of CCA-CORDS | CommScope® Category 6 U/UTP Cord, Plenum, RJ45 to Ceiling connector, 50 ft, white | CommScope® |  |  | Twisted pair patch cord
PFC-302L12 |  | Variant | FiberREACH™ Powered Fiber Cable, OM3, 2 Fibers, Indoor/Outdoor, 12AWG Conductor, meter, feet |  | FiberREACH™ |  | Hybrid cable ¦ fiber and power
PFC-302O12 |  | Variant | FiberREACH™ Powered Fiber Cable, OM3, 2 Fibers, Outdoor, 12AWG Conductor, meter, feet |  | FiberREACH™ |  | Hybrid cable ¦ fiber and power
PFC-304L12 |  | Variant | FiberREACH™ Powered Fiber Cable, OM3, 4 Fibers, Indoor/Outdoor, 12AWG Conductor, meter, feet |  | FiberREACH™ |  | Hybrid cable ¦ fiber and power
PFC-302O16 |  | Variant | FiberREACH™ Powered Fiber Cable, OM3, 2 Fibers, Outdoor, 16AWG Conductor, meter, feet |  | FiberREACH™ |  | Hybrid cable ¦ fiber and power
PFC-304L16 |  | Variant | FiberREACH™ Powered Fiber Cable, OM3, 4 Fibers, Indoor/Outdoor, 16AWG Conductor, meter, feet |  | FiberREACH™ |  | Hybrid cable ¦ fiber and power
PFC-S02O12 |  | Variant | FiberREACH™ Powered Fiber Cable, OS2, 2 Fibers, Outdoor, 12AWG Conductor, meter, feet |  | FiberREACH™ |  | Hybrid cable ¦ fiber and power
PFC-S04L12 |  | Variant | FiberREACH™ Powered Fiber Cable, OS2, 4 Fibers, Indoor/Outdoor, 12AWG Conductor, meter, feet. |  | FiberREACH™ |  | Hybrid cable ¦ fiber and power
PFP-PX-8M |  | Variant | Power Express module, connects up to 8 Powered Fiber Cables |  |  |  | Power supply module
PFC-S04O16 |  | Variant | FiberREACH™ Powered Fiber Cable, OS2, 4 Fibers, Outdoor, 16AWG Conductor, meter, feet |  | FiberREACH™ |  | Hybrid cable ¦ fiber and power
PFC-S02L16 |  | Variant | FiberREACH™ Powered Fiber Cable, OS2, 2 Fibers, Indoor/Outdoor, 16AWG Conductor, meter, feet. |  | FiberREACH™ |  | Hybrid cable ¦ fiber and power
PFP-SPS-1600M |  | Variant | Slimline SPS DC Rectifier Module, 1600 Watts |  |  |  | Power supply module
PFP-SPS-C1 |  | Variant | Slimline SPS DC Rectifier controller, factory set to 57VDC |  |  |  | Controller module
PFP-SPS-S1 |  | Variant | Slimline SPS DC Rectifier Shelf, 120/240VAC to 57VDC, accomodates up to 3 rectifier modules, 1U |  |  |  | Power supply subrack
700206733 | MGS400-GY | Variant of MGS400 | GigaSPEED XL® M-Series Modular Jack, RJ45, Cat6 Unshielded, Gray | SYSTIMAX® | GigaSPEED XL® | MGS400 | Modular jack
700206667 | MGS400-BK | Variant of MGS400 | GigaSPEED XL® M-Series Modular Jack, RJ45, Cat6 Unshielded, Black | SYSTIMAX® | GigaSPEED XL® | MGS400 | Modular jack
700206741 | MGS400-RD | Variant of MGS400 | GigaSPEED XL® M-Series Modular Jack, RJ45, Cat6 Unshielded, Red | SYSTIMAX® | GigaSPEED XL® | MGS400 | Modular jack
700206675 | MGS400-VI | Variant of MGS400 | GigaSPEED XL® M-Series Modular Jack, RJ45, Cat6 Unshielded, Violet | SYSTIMAX® | GigaSPEED XL® | MGS400 | Modular jack
760260993 | 2073A YEL C6 4/21 U/UTP R1000 | Variant of 2073A | GigaREACH™ XL 2073A Category 6 U/UTP Cable, CMP Plenum, yellow jacket, 4 pair count, 1000 ft (305 m) length, reel | SYSTIMAX® | GigaREACH™ XL |  | Twisted pair cable
760250853 | PFB-TB-LGY | Variant | FiberREACH™ Transition box for indoor to outdoor powered fiber cables, plenum rated | CommScope® | FiberREACH™ |  | Transition box
760255005 | P-016-HY-8G1-F30YL/8X16AWG/CTX | Variant | Constellation® Plenum Hybrid Fault Managed Power Cable, 16 Fiber Loose Tube, 8 Conductor 16 AWG Twisted Pairs | CommScope® | Constellation™ |  | Hybrid cable ¦ copper and fiber
760254908 | PPL-2U-HD-FX-OPEN | Variant of PROPEL-PANELS | Propel 2RU fixed tray open fiber panel, accepts Propel components, providing up to 96 duplex LC ports, 96 MPO ports or 192 SN ports (384f) | CommScope® | Propel | PPL | Fiber patch panel
760255953 | PPL-1U-W | Variant of PROPEL-PANELS | Propel 1RU sliding tray white fiber panel, accepts Propel ULL modules or adapter packs, providing up to 72 duplex LC ports, 72 MPO ports or 144 SN ports (288f) | CommScope® | Propel | PPL | Fiber patch panel
760254287 | CPM-3K | Variant | Constellation™ Transmitter Power Module, 3 kW module that provides the CPCX-12 with up to 12 kW of capacity |  | Constellation™ |  | Power supply
760254290 | CABLE-PWR-SAFD-L620P | Variant | Constellation™ Power Supply Cord, AC, Saf-D-Grid® to L620P power cable |  | Constellation™ |  | Power cable assembly
760254294 | CTX-CBL-10 | Variant | Constellation™ Power Interconnection Lead, 10 feet, connecting CTX-6 and the Power Transition Panel |  | Constellation™ |  | Power cable
760253796 | PPL-1U-HD-FX | Variant of PROPEL-PANELS | Propel 1RU fixed tray fiber panel, accepts Propel components, providing up to 48 duplex LC ports, 48 MPO ports or 96 SN ports (192f) | CommScope® | Propel | PPL | Fiber patch panel